| 检测软件验证记录 Validation Record for Computer Inspection Software |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 仪器名称/型号/编号：(1)自动C扫描系统/SCM12Xi/S680 Equipments Name/Model/Serial No.： |  |  |  |  |  |
| 是否发生影响仪器软件的维护或改进？ （2）□ 是Y□ 否N If maintenance or modifications are performed which affect equipment software? |  |  |  |  |  |
| 验证的产品工作包：（3）B777FTB Validated product working package |  |  |  |  |  |
| 序号 Serial No. | 验证内容 Validation Content |  |  | 验证结果 Validation Result |  |
| 1 | 仪器软件 EquipmentSoftware |  |  | (4) □符合Y □ 不符合N |  |
| 2 | 扫查计划编号/版次 Scan Plan No./Rev. |  |  | (5) □符合Y □ 不符合N |  |
| 2.1 | 扫描速率 Scan Rate |  |  | (6) □符合Y □ 不符合N |  |
| 2.2 | 步进增量 Index Incr. |  |  | (7) □符合Y □ 不符合N |  |
| 3 | 扫查参数编号/版次 Scan Parameter No./Rev. |  |  | (8) □符合Y □ 不符合N |  |
| 3.1 | 检测频率 Ins. Frequency |  |  | (9) □符合Y □ 不符合N |  |
| 3.2 | 扫描增益 Scan Plus |  |  | (10) □符合Y □ 不符合N |  |
| 4 | 孔隙率曲线编号/版次 Porosity Curve No./Rev. |  |  | (11) □符合Y□不符合N□不适用NA |  |
| 4.1 | 孔隙率曲线参数 Porosity Curve Parameter |  |  | (12) □符合Y□不符合N□不适用NA |  |
| 验证人员 Validated by |  | (13) | 验证日期 Validation Date |  | (14) |

填写说明Instructions for Filling：

本表格中的内容应由各项目批准的超声II级或III级人员进行填写。

The contents in this form shall be filled in by ultrasonic Level II or III personnel approved by each project..

- ：填写验证仪器的名称、型号和出厂编号。

Fill in the name, model and factory number of the validation instrument.

- ：若验证是由对仪器软件产生实质性影响的维护或改进所引起，选择“是”，否则“否”。

If the verification is caused by maintenance or improvement that has a substantial impact on the instrument software, select "Yes", otherwise "No".

- ：按项目填写验证的产品工作包，如B777FTB。

Fill in the verified product work package by project, such as B777FTB.

- ：核查仪器软件名称和/或版次是否与各项目所用零件超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the name and/or version of the instrument software are consistent with those specified in the ultrasonic testing technical sheet of the parts used in each project: if they are consistent, select "conforming"; otherwise, select "nonconforming".

- ：核查各项目所用零件扫查计划编号/版次是否与相应超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the scanning plan number/version of the parts used in each project is consistent with that specified in the corresponding ultrasonic testing technical sheet: if yes, select "conforming", otherwise select "nonconforming".

- ：核查各项目所用零件扫描速率是否与相应超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the scanning rate of parts used in each project is consistent with that specified in the corresponding ultrasonic testing technical sheet: if yes, select "conforming", otherwise select "nonconforming".

- ：核查各项目所用零件步进增量是否与相应超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the step increment of parts used in each project is consistent with that specified in the corresponding ultrasonic testing technical sheet: if yes, select "conforming", otherwise select "nonconforming".

- ：核查各项目所用零件扫查参数编号/版次是否与相应超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the scanning parameter number/version of the parts used in each project is consistent with that specified in the corresponding ultrasonic testing technical sheet: if yes, select "conforming", otherwise select "nonconforming".

- ：核查各项目所用零件检测频率是否与相应超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the inspection frequency of parts used in each project is consistent with that specified in the corresponding ultrasonic inspection technical sheet: if yes, select "conforming", otherwise select "nonconforming".

- ：核查各项目所用零件扫描增益是否与相应超声波检测技术单中规定的一致：若一致，选择“符合”，否则选择“不符合”。

Check whether the scanning gain of parts used in each project is consistent with that specified in the corresponding ultrasonic testing technical sheet: if yes, select "conforming", otherwise select "nonconforming".

- ：核查各项目批准的孔隙率曲线编号/版次是否与该项目所用零件超声波检测技术单中规定的一致：若一致，选择“符合”，不一致，选择“不符合”，若没有孔隙率检测需求，选择“不适用”。

Check whether the porosity curve number/version approved by each project is consistent with that specified in the ultrasonic testing technical sheet of parts used in the project: if consistent, select "consistent", if inconsistent, select "inconsistent", if there is no porosity testing requirement, select "not applicable".

- ：核查各项目批准的孔隙率曲线参数是否与孔隙率评估曲线原始数据一致：若一致，选择“符合”，不一致，选择“不符合”，若没有孔隙率检测需求，选择“不适用”。

Check whether the porosity curve parameters approved by each project are consistent with the original data of porosity evaluation curve: if they are consistent, select "conforming"; if they are inconsistent, select "nonconforming"; if there is no porosity testing requirement, select "not applicable".

- 验证人员签字或盖章。

Signature or seal of the verifier.

- 填写验证日期。

Fill in the validation date.